## Instruction
Shimadzu Corporation
Introduction of this sheet
This sheet describes the format of the drying curve for MOC63u.
You can describe the measurement result graph using the WindowsDirect function.
Then, you can determine the measurement time and temperature for your sample.
This simple sheet can be modified easily.
Procedure
1. Setting of MOC63u measurement mode
Please change the timed ending mode. Set the drying time as 3 minutes, 10 minutes or 30 minutes.
Please refer to operation manual P55 "Setting Temperature and Time as Measuring Conditions".
2. Setting of WindowsDirect
Please refer to operation manual P79 "Using WindowsDirect Function"
3. Setting of data transfer interval
Please refer to operation manual P92 "Setting a Measurement Data Printout Timing"
The interval timing should be 5sec.
4. Choosing a worksheet
This file includes worksheets for 3min/5sec, 10min/5sec and 30min/5sec.
Choose the worksheet that corresponds to the selected timer setting (#1 above).
Please see the applicable tabs.
5. Actual measurement
Start measurement and select cell "A1" of worksheet.
Data import and graph description will be started.
Caution
*Please follow above instructions in order to describe the graph.
*If you stop measurement, the data graph may not be described.